# Inspection Approval Note

# Equipment Details

| Equipment | Cooling Water Pump P-101 |
| --- | --- |
| Equipment Type | Centrifugal Pump |
| Location | Pump House - Area 1 |
| Severity | Medium |

# Inspection Finding

Abnormal vibration detected during routine inspection.

# AI Analysis

The inspection finding indicates abnormal vibration in the cooling water pump. Based on the available inspection information and referenced maintenance guidance, the pump should be checked for alignment, bearing condition, and coupling issues.

# Recommended Action

Inspect pump alignment, bearings, and coupling. Schedule corrective maintenance if abnormal vibration persists.

# SOP / Knowledge Reference

SOP-MECH-014: Centrifugal Pump Inspection and Maintenance

# Source Traceability

Source Document: Sample_Inspection_Report.pdf

Source Pages: 2, 3